## Before vs After Review
Product # | Handle | Current Title (Before) | Upgraded SEO Title (After) | Current Word Count | Upgraded Description (Clean Readable Text + Specs) | Current Alt Text | Upgraded Image Alt Text | Upgraded Google Shopping Category | Upgraded Smart Tags | Live Product URL
#1 | honeywell-w737a-1008 | Honeywell W737A-1008 | Honeywell W737A-1008 Remote Minimum Position Potentiometer | 31 | The Honeywell W737A-1008 remote potentiometer delivers precise minimum ventilation adjustment for Honeywell economizer systems. Designed for commercial HVAC control, it ensures accurate outdoor air damper positioning to maintain optimal indoor air quality and efficiency. Key Features & Benefits • Enables remote manual setting of minimum damper position on economizer actuators. • Integrates seamlessly with Honeywell commercial economizer logic modules. • High-precision potentiometer mechanism for consistent, reliable resistance tuning. • Wall or panel-mountable design allows convenient remote access for technicians. • Heavy-duty construction ensures long-term operational stability in HVAC environments. Specifications Summary Brand: Honeywell ¦ Model: W737A-1008 ¦ Application: Remote Economizer Minimum Position Control ¦ Compatibility: Honeywell Economizer Controllers & Actuators | Missing / Empty (Not Indexed) | Honeywell W737A-1008 remote minimum position potentiometer for economizer controllers | Hardware > Heating, Ventilation & Air Conditioning Controls | Honeywell, Economizer Controller, Potentiometer, HVAC Controls, W737A-1008, Damper Control | https://easybuildsupply.com/products/honeywell-w737a-1008
#2 | honeywell-u4065d-1001 | Honeywell U4065D 1001 | Honeywell U4065D 1001 Industrial Fluid Power Actuator | 34 | The Honeywell U4065D 1001 is a high-performance general-purpose fluid power actuator engineered for precise valve and damper automation in industrial HVAC systems. Designed for heavy-duty applications, it delivers reliable mechanical force and dependable control across diverse operating conditions. Key Features & Benefits • Engineered for versatile valve and air damper control in industrial HVAC units. • Robust fluid power mechanism delivers smooth torque and consistent positioning. • Supports multiple control modes for seamless integration with automation systems. • Durable industrial-grade housing protects internal components from harsh environments. • Factory-tested for long service life and reduced maintenance downtime. Specifications Summary Brand: Honeywell ¦ Series: 4065D Series ¦ Model: U4065D-1001 ¦ Type: Fluid Power Actuator ¦ Application: Industrial Valve & Damper Control | Missing / Empty (Not Indexed) | Honeywell U4065D 1001 general purpose fluid power actuator for industrial valves and dampers | Hardware > Heating, Ventilation & Air Conditioning Controls | Honeywell, Fluid Power Actuator, Industrial Controls, HVAC Actuator, U4065D-1001, Damper Actuator, Valve Actuator | https://easybuildsupply.com/products/honeywell-u4065d-1001
#3 | honeywell-t631c-1038-air-switch | Honeywell T631C 1038 Air Switch | Honeywell T631C1038 Mechanical Air Temperature Switch | 30 | The Honeywell T631C1038 mechanical air switch provides precision temperature and airflow limit control for industrial and commercial HVAC systems. Featuring reliable SPDT switching, it protects ventilation equipment across a wide operational temperature range of -10°C to 30°C. Key Features & Benefits • Single-Pole Double-Throw (SPDT) switching configuration for versatile circuit control. • Temperature control range spanning from -10°C to 30°C (14°F to 86°F). • Heavy-duty mechanical sensing element provides swift response to air conditions. • Rugged enclosure designed for simple installation in ductwork or mechanical spaces. • Ideal for duct heating, cooling cut-off, fan safety limits, and ventilation control. Specifications Summary Brand: Honeywell ¦ Model: T631C1038 ¦ Contact Rating: SPDT ¦ Temperature Range: -10°C to 30°C (14°F to 86°F) ¦ Application: Airflow & Temperature Control | Missing / Empty (Not Indexed) | Honeywell T631C1038 mechanical air switch with SPDT contact configuration | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Honeywell, Air Switch, SPDT Switch, HVAC Controls, T631C1038, Temperature Switch, Mechanical Switch | https://easybuildsupply.com/products/honeywell-t631c-1038-air-switch
#4 | johnson-controls-a19abc-24-temperature-control | Johnson Controls A19ABC-24 Temperature Control | Johnson Controls A19ABC-24 Temperature Control Switch | 19 | The Johnson Controls A19ABC-24 is a general-purpose mechanical temperature control built for accurate regulation in HVAC, refrigeration, and industrial systems. Featuring a rugged liquid-filled sensing element, it ensures continuous, dependable temperature monitoring and switching performance. Key Features & Benefits • Liquid-filled sensing element provides precise temperature detection and repeat accuracy. • Versatile SPDT contact mechanism accommodates heating, cooling, or alarm circuits. • Setpoint scale and adjustable differential allow tailored operational settings. • NEMA 1 enclosure protects switch components in standard indoor installations. • Compact mechanical design allows effortless retrofitting and direct mounting. Specifications Summary Brand: Johnson Controls ¦ Model: A19ABC-24 ¦ Contact Type: SPDT ¦ Application: HVAC, Refrigeration & Heating Systems ¦ Enclosure Rating: NEMA 1 | Missing / Empty (Not Indexed) | Johnson Controls A19ABC-24 mechanical temperature control switch | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Johnson Controls, A19ABC-24, Temperature Control, Refrigeration Controls, HVAC Controls, SPDT Switch | https://easybuildsupply.com/products/johnson-controls-a19abc-24-temperature-control
#5 | honeywell-t451a-2015-line-voltage-thermostat-1 | Honeywell T451A 2015 Line Voltage Thermostat | Honeywell T451A2015 Line Voltage Electric Heating Thermostat | 33 | The Honeywell T451A2015 line voltage thermostat delivers dependable temperature regulation for electric heating equipment and fan coil HVAC systems. Equipped with SPST contacts that close on temperature fall, it provides robust direct line-voltage control with a built-in positive off setting. Key Features & Benefits • Single-Pole Single-Throw (SPST) contacts close on temperature fall for automatic heating control. • Integrated positive off position manually cuts power to heating circuits for safe servicing. • High electric rating handles heavy line-voltage loads directly without auxiliary relays. • Clean, minimalist faceplate design without a built-in thermometer for tamper resistance. • Standard wall-box mounting standardizes installation for commercial or residential spaces. Specifications Summary Brand: Honeywell ¦ Model: T451A2015 ¦ Voltage Type: Line Voltage ¦ Contact Type: SPST (Makes on temperature fall) ¦ Special Features: Positive Off Function | Missing / Empty (Not Indexed) | Honeywell T451A2015 line voltage thermostat for electric heating systems | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Honeywell, Line Voltage Thermostat, Electric Heating, HVAC Thermostats, T451A2015, SPST Thermostat | https://easybuildsupply.com/products/honeywell-t451a-2015-line-voltage-thermostat-1

## Shopify Admin Import Ready
Handle | Title | Body (HTML) | Vendor | Product Category | Type | Tags | Published | Option1 Name | Option1 Value | Variant SKU | Variant Grams | Variant Inventory Tracker | Variant Inventory Qty | Variant Inventory Policy | Variant Fulfillment Service | Variant Price | Variant Compare At Price | Variant Requires Shipping | Variant Taxable | Variant Barcode | Image Src | Image Position | Image Alt Text | Gift Card | SEO Title | SEO Description | Google Shopping / Google Product Category | Status
honeywell-w737a-1008 | Honeywell W737A-1008 Remote Minimum Position Potentiometer | <p>The Honeywell W737A-1008 remote potentiometer delivers precise minimum ventilation adjustment for Honeywell economizer systems. Designed for commercial HVAC control, it ensures accurate outdoor air damper positioning to maintain optimal indoor air quality and efficiency.</p><h3>Key Features &amp; Benefits</h3><ul><li>Enables remote manual setting of minimum damper position on economizer actuators.</li><li>Integrates seamlessly with Honeywell commercial economizer logic modules.</li><li>High-precision potentiometer mechanism for consistent, reliable resistance tuning.</li><li>Wall or panel-mountable design allows convenient remote access for technicians.</li><li>Heavy-duty construction ensures long-term operational stability in HVAC environments.</li></ul><div class="specs-summary"><h4>Specifications Summary</h4><p><strong>Brand:</strong> Honeywell ¦ <strong>Model:</strong> W737A-1008 ¦ <strong>Application:</strong> Remote Economizer Minimum Position Control ¦ <strong>Compatibility:</strong> Honeywell Economizer Controllers &amp; Actuators</p></div> | Easybuildsupply | Hardware > Heating, Ventilation & Air Conditioning Controls | Hardware > Heating, Ventilation & Air Conditioning Controls | Honeywell, Economizer Controller, Potentiometer, HVAC Controls, W737A-1008, Damper Control | FALSE | Title | Default Title | HONEYWELL-W737A-1008-FIXED | 0 | shopify | 25 | deny | manual | 175.00 |  | TRUE | TRUE |  | https://cdn.shopify.com/s/files/1/0953/8034/1057/files/unnamed-6.jpg?v=1771675293 | 1 | Honeywell W737A-1008 remote minimum position potentiometer for economizer controllers | FALSE | Honeywell W737A-1008 Remote Minimum Position Potentiometer | The Honeywell W737A-1008 remote potentiometer delivers precise minimum ventilation adjustment for Honeywell economizer systems. Designed for commercial HVA | Hardware > Heating, Ventilation & Air Conditioning Controls | draft
honeywell-u4065d-1001 | Honeywell U4065D 1001 Industrial Fluid Power Actuator | <p>The Honeywell U4065D 1001 is a high-performance general-purpose fluid power actuator engineered for precise valve and damper automation in industrial HVAC systems. Designed for heavy-duty applications, it delivers reliable mechanical force and dependable control across diverse operating conditions.</p><h3>Key Features &amp; Benefits</h3><ul><li>Engineered for versatile valve and air damper control in industrial HVAC units.</li><li>Robust fluid power mechanism delivers smooth torque and consistent positioning.</li><li>Supports multiple control modes for seamless integration with automation systems.</li><li>Durable industrial-grade housing protects internal components from harsh environments.</li><li>Factory-tested for long service life and reduced maintenance downtime.</li></ul><div class="specs-summary"><h4>Specifications Summary</h4><p><strong>Brand:</strong> Honeywell ¦ <strong>Series:</strong> 4065D Series ¦ <strong>Model:</strong> U4065D-1001 ¦ <strong>Type:</strong> Fluid Power Actuator ¦ <strong>Application:</strong> Industrial Valve &amp; Damper Control</p></div> | Easybuildsupply | Hardware > Heating, Ventilation & Air Conditioning Controls | Hardware > Heating, Ventilation & Air Conditioning Controls | Honeywell, Fluid Power Actuator, Industrial Controls, HVAC Actuator, U4065D-1001, Damper Actuator, Valve Actuator | FALSE | Title | Default Title | HONEYWELL-U4065D-100-FIXED | 0 | shopify | 25 | deny | manual | 250.00 |  | TRUE | TRUE |  | https://cdn.shopify.com/s/files/1/0953/8034/1057/files/epub_honeywell-logo_webp_93cd7dc9-d447-4a91-90e3-d475dfc02362.webp?v=1770460616 | 1 | Honeywell U4065D 1001 general purpose fluid power actuator for industrial valves and dampers | FALSE | Honeywell U4065D 1001 Industrial Fluid Power Actuator | The Honeywell U4065D 1001 is a high-performance general-purpose fluid power actuator engineered for precise valve and damper automation in industrial HVAC | Hardware > Heating, Ventilation & Air Conditioning Controls | draft
honeywell-t631c-1038-air-switch | Honeywell T631C1038 Mechanical Air Temperature Switch | <p>The Honeywell T631C1038 mechanical air switch provides precision temperature and airflow limit control for industrial and commercial HVAC systems. Featuring reliable SPDT switching, it protects ventilation equipment across a wide operational temperature range of -10°C to 30°C.</p><h3>Key Features &amp; Benefits</h3><ul><li>Single-Pole Double-Throw (SPDT) switching configuration for versatile circuit control.</li><li>Temperature control range spanning from -10°C to 30°C (14°F to 86°F).</li><li>Heavy-duty mechanical sensing element provides swift response to air conditions.</li><li>Rugged enclosure designed for simple installation in ductwork or mechanical spaces.</li><li>Ideal for duct heating, cooling cut-off, fan safety limits, and ventilation control.</li></ul><div class="specs-summary"><h4>Specifications Summary</h4><p><strong>Brand:</strong> Honeywell ¦ <strong>Model:</strong> T631C1038 ¦ <strong>Contact Rating:</strong> SPDT ¦ <strong>Temperature Range:</strong> -10°C to 30°C (14°F to 86°F) ¦ <strong>Application:</strong> Airflow &amp; Temperature Control</p></div> | Easybuildsupply | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Honeywell, Air Switch, SPDT Switch, HVAC Controls, T631C1038, Temperature Switch, Mechanical Switch | FALSE | Title | Default Title | HONEYWELL-T631C-1038-FIXED | 0 | shopify | 25 | deny | manual | 110.00 |  | TRUE | TRUE |  | https://cdn.shopify.com/s/files/1/0953/8034/1057/files/images-14.jpg?v=1770054431 | 1 | Honeywell T631C1038 mechanical air switch with SPDT contact configuration | FALSE | Honeywell T631C1038 Mechanical Air Temperature Switch | The Honeywell T631C1038 mechanical air switch provides precision temperature and airflow limit control for industrial and commercial HVAC systems. Featurin | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | draft
johnson-controls-a19abc-24-temperature-control | Johnson Controls A19ABC-24 Temperature Control Switch | <p>The Johnson Controls A19ABC-24 is a general-purpose mechanical temperature control built for accurate regulation in HVAC, refrigeration, and industrial systems. Featuring a rugged liquid-filled sensing element, it ensures continuous, dependable temperature monitoring and switching performance.</p><h3>Key Features &amp; Benefits</h3><ul><li>Liquid-filled sensing element provides precise temperature detection and repeat accuracy.</li><li>Versatile SPDT contact mechanism accommodates heating, cooling, or alarm circuits.</li><li>Setpoint scale and adjustable differential allow tailored operational settings.</li><li>NEMA 1 enclosure protects switch components in standard indoor installations.</li><li>Compact mechanical design allows effortless retrofitting and direct mounting.</li></ul><div class="specs-summary"><h4>Specifications Summary</h4><p><strong>Brand:</strong> Johnson Controls ¦ <strong>Model:</strong> A19ABC-24 ¦ <strong>Contact Type:</strong> SPDT ¦ <strong>Application:</strong> HVAC, Refrigeration &amp; Heating Systems ¦ <strong>Enclosure Rating:</strong> NEMA 1</p></div> | Easybuildsupply | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Johnson Controls, A19ABC-24, Temperature Control, Refrigeration Controls, HVAC Controls, SPDT Switch | FALSE | Title | Default Title | JOHNSON-CONTROLS-A19-FIXED | 0 | shopify | 25 | deny | manual | 120.00 |  | TRUE | TRUE |  | https://cdn.shopify.com/s/files/1/0953/8034/1057/files/a19abc-24c_001_large_0705d772-9b66-43fb-85ee-20d8953a3679.jpg?v=1770054091 | 1 | Johnson Controls A19ABC-24 mechanical temperature control switch | FALSE | Johnson Controls A19ABC-24 Temperature Control Switch | The Johnson Controls A19ABC-24 is a general-purpose mechanical temperature control built for accurate regulation in HVAC, refrigeration, and industrial sys | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | draft
honeywell-t451a-2015-line-voltage-thermostat-1 | Honeywell T451A2015 Line Voltage Electric Heating Thermostat | <p>The Honeywell T451A2015 line voltage thermostat delivers dependable temperature regulation for electric heating equipment and fan coil HVAC systems. Equipped with SPST contacts that close on temperature fall, it provides robust direct line-voltage control with a built-in positive off setting.</p><h3>Key Features &amp; Benefits</h3><ul><li>Single-Pole Single-Throw (SPST) contacts close on temperature fall for automatic heating control.</li><li>Integrated positive off position manually cuts power to heating circuits for safe servicing.</li><li>High electric rating handles heavy line-voltage loads directly without auxiliary relays.</li><li>Clean, minimalist faceplate design without a built-in thermometer for tamper resistance.</li><li>Standard wall-box mounting standardizes installation for commercial or residential spaces.</li></ul><div class="specs-summary"><h4>Specifications Summary</h4><p><strong>Brand:</strong> Honeywell ¦ <strong>Model:</strong> T451A2015 ¦ <strong>Voltage Type:</strong> Line Voltage ¦ <strong>Contact Type:</strong> SPST (Makes on temperature fall) ¦ <strong>Special Features:</strong> Positive Off Function</p></div> | Easybuildsupply | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | Honeywell, Line Voltage Thermostat, Electric Heating, HVAC Thermostats, T451A2015, SPST Thermostat | FALSE | Title | Default Title | HONEYWELL-T451A-2015-FIXED | 0 | shopify | 25 | deny | manual | 120.00 |  | TRUE | TRUE |  | https://cdn.shopify.com/s/files/1/0953/8034/1057/files/honeywell-t451a-thermostat_a3a59713-fd74-4073-9c26-f20830fe8c5e.jpg?v=1770053339 | 1 | Honeywell T451A2015 line voltage thermostat for electric heating systems | FALSE | Honeywell T451A2015 Line Voltage Electric Heating Thermostat | The Honeywell T451A2015 line voltage thermostat delivers dependable temperature regulation for electric heating equipment and fan coil HVAC systems. Equipp | Hardware > Heating, Ventilation & Air Conditioning Controls > Thermostats | draft